## Summary
Summary
Line Overloaded
Line | Used Percentage
Voltage Violation in Bus
Bus | Voltage | Over/Under
Trafo Overloaded
Trafo | Used Percentage

## Dashboard
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.
Propens - Pandapower
Generation
Lines
Trafos
Demand

## Demand
Demand
Step | Zone | Load Index | Bus Index | In service | Voltage Level [kV] | Active Power [MW] | Reactive Power [MVAr]

## Generation
Generators
Step | Zone | Bus Index | Generator Index | Fuel | Technology | Voltage Level [kV] | Name | In Service | Voltage [p.u] | Maximum Active Power [MW] | Maximum Reactive Power [MVAr] | Minimum Active Power [MW] | Minimum Reactive Power [MVAr] | Active Power [MW] | Reactive Power [MVAr]
0 | 1 | 0 | 0 | Coal | Steam Turbine | 230 | --- | 1 | 1 | 40 | 30 | 0 | -30 | 40 | 30.7252
0 | 1 | 2 | 1 | NG | Gas Turbine | 230 | --- | 1 | 1 | 520 | 390 | 0 | -390 | 323.49 | 194.6547
0 | 1 | 4 | 2 | Wind | Wind Turbine | 110 | --- | 1 | 1 | 600 | 450 | 0 | -450 | 466.51 | -38.2096
1 | 1 | 0 | 0 | Coal | Steam Turbine | 230 | --- | 1 | 1 | 40 | 30 | 0 | -30 | 44 | 30.7252
1 | 1 | 2 | 1 | NG | Gas Turbine | 230 | --- | 1 | 1 | 520 | 390 | 0 | -390 | 355.839 | 194.6547
1 | 1 | 4 | 2 | Wind | Wind Turbine | 110 | --- | 1 | 1 | 600 | 450 | 0 | -450 | 513.161 | -38.2096
2 | 1 | 0 | 0 | Coal | Steam Turbine | 230 | --- | 1 | 1 | 44 | 33 | 0 | -33 | 48.4 | 33.7977
2 | 1 | 2 | 1 | NG | Gas Turbine | 230 | --- | 1 | 1 | 572 | 429 | 0 | -429 | 391.4229 | 214.1202
2 | 1 | 4 | 2 | Wind | Wind Turbine | 110 | --- | 1 | 1 | 660 | 495 | 0 | -495 | 564.4771 | -42.0306
3 | 1 | 0 | 0 | Coal | Steam Turbine | 230 | --- | 1 | 1 | 44 | 33 | 0 | -33 | 53.24 | 33.7977
3 | 1 | 2 | 1 | NG | Gas Turbine | 230 | --- | 1 | 1 | 572 | 429 | 0 | -429 | 430.5652 | 214.1202
3 | 1 | 4 | 2 | Wind | Wind Turbine | 110 | --- | 1 | 1 | 660 | 495 | 0 | -495 | 620.9248 | -42.0306
4 | 1 | 0 | 0 | Coal | Steam Turbine | 230 | --- | 1 | 1 | 48.4 | 36.3 | 0 | -36.3 | 58.564 | 37.1774
4 | 1 | 2 | 1 | NG | Gas Turbine | 230 | --- | 1 | 1 | 629.2 | 471.9 | 0 | -471.9 | 473.6217 | 235.5322
4 | 1 | 4 | 2 | Wind | Wind Turbine | 110 | --- | 1 | 1 | 726 | 544.5 | 0 | -544.5 | 683.0173 | -46.2336
5 | 1 | 0 | 0 | Coal | Steam Turbine | 230 | --- | 1 | 1 | 48.4 | 36.3 | 0 | -36.3 | 64.4204 | 37.1774
5 | 1 | 2 | 1 | NG | Gas Turbine | 230 | --- | 1 | 1 | 629.2 | 471.9 | 0 | -471.9 | 520.9839 | 235.5322
5 | 1 | 4 | 2 | Wind | Wind Turbine | 110 | --- | 1 | 1 | 726 | 544.5 | 0 | -544.5 | 751.319 | -46.2336
6 | 1 | 0 | 0 | Coal | Steam Turbine | 230 | --- | 1 | 1 | 53.24 | 39.93 | 0 | -39.93 | 70.8624 | 40.8952
6 | 1 | 2 | 1 | NG | Gas Turbine | 230 | --- | 1 | 1 | 692.12 | 519.09 | 0 | -519.09 | 573.0823 | 259.0854
6 | 1 | 4 | 2 | Wind | Wind Turbine | 110 | --- | 1 | 1 | 798.6 | 598.95 | 0 | -598.95 | 826.4509 | -50.857
7 | 1 | 0 | 0 | Coal | Steam Turbine | 230 | --- | 1 | 1 | 53.24 | 39.93 | 0 | -39.93 | 77.9487 | 40.8952
7 | 1 | 2 | 1 | NG | Gas Turbine | 230 | --- | 1 | 1 | 692.12 | 519.09 | 0 | -519.09 | 630.3905 | 259.0854
7 | 1 | 4 | 2 | Wind | Wind Turbine | 110 | --- | 1 | 1 | 798.6 | 598.95 | 0 | -598.95 | 909.096 | -50.857
8 | 1 | 0 | 0 | Coal | Steam Turbine | 230 | --- | 1 | 1 | 58.564 | 43.923 | 0 | -43.923 | 85.7436 | 44.9847
8 | 1 | 2 | 1 | NG | Gas Turbine | 230 | --- | 1 | 1 | 761.332 | 570.999 | 0 | -570.999 | 693.4295 | 284.994
8 | 1 | 4 | 2 | Wind | Wind Turbine | 110 | --- | 1 | 1 | 878.46 | 658.845 | 0 | -658.845 | 1000.0056 | -55.9427
9 | 1 | 0 | 0 | Coal | Steam Turbine | 230 | --- | 1 | 1 | 58.564 | 43.923 | 0 | -43.923 | 94.3179 | 44.9847
9 | 1 | 2 | 1 | NG | Gas Turbine | 230 | --- | 1 | 1 | 761.332 | 570.999 | 0 | -570.999 | 762.7725 | 284.994
9 | 1 | 4 | 2 | Wind | Wind Turbine | 110 | --- | 1 | 1 | 878.46 | 658.845 | 0 | -658.845 | 1100.0062 | -55.9427
10 | 1 | 0 | 0 | Coal | Steam Turbine | 230 | --- | 1 | 1 | 64.4204 | 48.3153 | 0 | -48.3153 | 103.7497 | 49.4832
10 | 1 | 2 | 1 | NG | Gas Turbine | 230 | --- | 1 | 1 | 837.4652 | 628.0989 | 0 | -628.0989 | 839.0497 | 313.4934
10 | 1 | 4 | 2 | Wind | Wind Turbine | 110 | --- | 1 | 1 | 966.306 | 724.7295 | 0 | -724.7295 | 1210.0068 | -61.537

## Generation01 (hidden)
Zone | (All)
Voltage Level [kV] | (All)
Sum of Active Power [MW] | Column Labels
| Coal | Coal Total | NG | NG Total | Wind | Wind Total | Grand Total
Row Labels | Steam Turbine |  | Gas Turbine |  | Wind Turbine
0 | 40 | 40 | 323.49 | 323.49 | 466.51 | 466.51 | 830
1 | 44 | 44 | 355.839 | 355.839 | 513.161 | 513.161 | 913
2 | 48.4 | 48.4 | 391.4229 | 391.4229 | 564.4771 | 564.4771 | 1004.3
3 | 53.24 | 53.24 | 430.5652 | 430.5652 | 620.9248 | 620.9248 | 1104.73
4 | 58.564 | 58.564 | 473.6217 | 473.6217 | 683.0173 | 683.0173 | 1215.203
5 | 64.4204 | 64.4204 | 520.9839 | 520.9839 | 751.319 | 751.319 | 1336.7233
6 | 70.8624 | 70.8624 | 573.0823 | 573.0823 | 826.4509 | 826.4509 | 1470.3956
7 | 77.9487 | 77.9487 | 630.3905 | 630.3905 | 909.096 | 909.096 | 1617.4352
8 | 85.7436 | 85.7436 | 693.4295 | 693.4295 | 1000.0056 | 1000.0056 | 1779.1787
9 | 94.3179 | 94.3179 | 762.7725 | 762.7725 | 1100.0062 | 1100.0062 | 1957.0966
10 | 103.7497 | 103.7497 | 839.0497 | 839.0497 | 1210.0068 | 1210.0068 | 2152.8062
Grand Total | 741.2467 | 741.2467 | 5994.6472 | 5994.6472 | 8644.9747 | 8644.9747 | 15380.8687

## Generation02 (hidden)
Row Labels | Sum of Active Power [MW]
Coal | 741.2467
Steam Turbine | 741.2467
230 | 741.2467
NG | 5994.6472
Gas Turbine | 5994.6472
230 | 5994.6472
Wind | 8644.9747
Wind Turbine | 8644.9747
110 | 8644.9747
Grand Total | 15380.8687

## Buses
Buses Parameters
Step | Bus Index | Zone | Name | Voltage Level [kV] | In Service | Voltage [p.u] | Voltage Phase [degree] | Active Power [MW] | Reactive Power [MVAr]
|  |  | Germany | 380 |  | 1.2
|  |  | Austria | 380 |  | 1

## Lines01 (hidden)
Zone | (All)
Voltage Level [kV] | (All)
Row Labels | Max of Loading Percent [%] | Average of Loading Percent [%] | Min of Loading Percent [%]2
0 | 100.1732 | 27.1434 | 7.2341e-05
1 | 110.1905 | 29.8577 | 7.9575e-05
2 | 121.2095 | 32.8435 | 8.7532e-05
3 | 133.3305 | 36.1278 | 9.6285e-05
4 | 146.6635 | 39.7406 | 0.00010591
5 | 161.3299 | 43.7147 | 0.00011651
6 | 177.4629 | 48.0861 | 0.00012816
7 | 195.2092 | 52.8948 | 0.00014097
8 | 214.7301 | 58.1842 | 0.00015507
9 | 236.2031 | 64.0027 | 0.00017058
10 | 259.8234 | 70.4029 | 0.00018763
Grand Total | 259.8234 | 45.7271 | 7.2341e-05

## Lines02 (hidden)
Zone | (All)
Voltage Level [kV] | (All)
Row Labels | Sum of Losses [MW]
0 | 5.0272
1 | 5.5299
2 | 6.0829
3 | 6.6912
4 | 7.3603
5 | 8.0963
6 | 8.906
7 | 9.7966
8 | 10.7762
9 | 11.8538
10 | 13.0392
Grand Total | 93.1595

## Lines
Tranmission and Distribution Lines
Step | Zone | Line Index | Voltage Level [kV] | Name | From bus | To Bus | In service | Length [km] | Maximum Current [kA] | Maximum Loading [%] | Number of Lines in Parallel | Std. Type | From Bus Act. Power [MW] | From Bus Raact. Power [MVAr] | To Bus Act. Power [MW] | To Bus Raact. Power [MVAr] | Losses [MW] | Losses [MVAr] | Loading Percent [%]
0 | 1 | 0 | 110 | --- | 0 | 1 | 1 | 1 | 1.0041 | 100 | 1 | --- | 249.7734 | 21.5991 | -248.0068 | -4.6374 | 1.7666 | 16.9617 | 62.6857
0 | 1 | 1 | 230 | --- | 0 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | 186.5001 | -13.6121 | -185.4374 | 23.5816 | 1.0627 | 9.9695 | 0.00046941
0 | 1 | 2 | 230 | --- | 0 | 4 | 1 | 1 | 99999 | 100 | 1 | --- | -226.2735 | 22.7382 | 226.605 | -22.5496 | 0.33146 | 0.18858 | 0.00057164
0 | 1 | 3 | 230 | --- | 1 | 2 | 1 | 1 | 99999 | 100 | 1 | --- | -51.9932 | -93.9726 | 52.1187 | 93.3946 | 0.12542 | -0.57804 | 0.00027252
0 | 1 | 4 | 230 | --- | 2 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | -28.6287 | 2.6501 | 28.6533 | -3.0781 | 0.024607 | -0.42793 | 7.2341e-05
0 | 1 | 5 | 230 | --- | 3 | 4 | 1 | 1 | 0.60245 | 100 | 1 | --- | -238.1887 | 32.1494 | 239.905 | -15.66 | 1.7163 | 16.4894 | 100.1732
1 | 1 | 0 | 110 | --- | 0 | 1 | 1 | 1 | 1.0041 | 100 | 1 | --- | 249.7734 | 21.5991 | -248.0068 | -4.6374 | 1.9433 | 16.9617 | 68.9543
1 | 1 | 1 | 230 | --- | 0 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | 186.5001 | -13.6121 | -185.4374 | 23.5816 | 1.169 | 9.9695 | 0.00051635
1 | 1 | 2 | 230 | --- | 0 | 4 | 1 | 1 | 99999 | 100 | 1 | --- | -226.2735 | 22.7382 | 226.605 | -22.5496 | 0.3646 | 0.18858 | 0.00062881
1 | 1 | 3 | 230 | --- | 1 | 2 | 1 | 1 | 99999 | 100 | 1 | --- | -51.9932 | -93.9726 | 52.1187 | 93.3946 | 0.13796 | -0.57804 | 0.00029977
1 | 1 | 4 | 230 | --- | 2 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | -28.6287 | 2.6501 | 28.6533 | -3.0781 | 0.027068 | -0.42793 | 7.9575e-05
1 | 1 | 5 | 230 | --- | 3 | 4 | 1 | 1 | 0.60245 | 100 | 1 | --- | -238.1887 | 32.1494 | 239.905 | -15.66 | 1.888 | 16.4894 | 110.1905
2 | 1 | 0 | 110 | --- | 0 | 1 | 1 | 1 | 1.0041 | 100 | 1 | --- | 249.7734 | 21.5991 | -248.0068 | -4.6374 | 2.1376 | 16.9617 | 75.8497
2 | 1 | 1 | 230 | --- | 0 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | 186.5001 | -13.6121 | -185.4374 | 23.5816 | 1.2859 | 9.9695 | 0.00056798
2 | 1 | 2 | 230 | --- | 0 | 4 | 1 | 1 | 99999 | 100 | 1 | --- | -226.2735 | 22.7382 | 226.605 | -22.5496 | 0.40106 | 0.18858 | 0.00069169
2 | 1 | 3 | 230 | --- | 1 | 2 | 1 | 1 | 99999 | 100 | 1 | --- | -51.9932 | -93.9726 | 52.1187 | 93.3946 | 0.15176 | -0.57804 | 0.00032975
2 | 1 | 4 | 230 | --- | 2 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | -28.6287 | 2.6501 | 28.6533 | -3.0781 | 0.029775 | -0.42793 | 8.7532e-05
2 | 1 | 5 | 230 | --- | 3 | 4 | 1 | 1 | 0.60245 | 100 | 1 | --- | -238.1887 | 32.1494 | 239.905 | -15.66 | 2.0768 | 16.4894 | 121.2095
3 | 1 | 0 | 110 | --- | 0 | 1 | 1 | 1 | 1.0041 | 100 | 1 | --- | 249.7734 | 21.5991 | -248.0068 | -4.6374 | 2.3514 | 16.9617 | 83.4347
3 | 1 | 1 | 230 | --- | 0 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | 186.5001 | -13.6121 | -185.4374 | 23.5816 | 1.4145 | 9.9695 | 0.00062478
3 | 1 | 2 | 230 | --- | 0 | 4 | 1 | 1 | 99999 | 100 | 1 | --- | -226.2735 | 22.7382 | 226.605 | -22.5496 | 0.44117 | 0.18858 | 0.00076086
3 | 1 | 3 | 230 | --- | 1 | 2 | 1 | 1 | 99999 | 100 | 1 | --- | -51.9932 | -93.9726 | 52.1187 | 93.3946 | 0.16693 | -0.57804 | 0.00036272
3 | 1 | 4 | 230 | --- | 2 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | -28.6287 | 2.6501 | 28.6533 | -3.0781 | 0.032752 | -0.42793 | 9.6285e-05
3 | 1 | 5 | 230 | --- | 3 | 4 | 1 | 1 | 0.60245 | 100 | 1 | --- | -238.1887 | 32.1494 | 239.905 | -15.66 | 2.2844 | 16.4894 | 133.3305
4 | 1 | 0 | 110 | --- | 0 | 1 | 1 | 1 | 1.0041 | 100 | 1 | --- | 249.7734 | 21.5991 | -248.0068 | -4.6374 | 2.5865 | 16.9617 | 91.7781
4 | 1 | 1 | 230 | --- | 0 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | 186.5001 | -13.6121 | -185.4374 | 23.5816 | 1.556 | 9.9695 | 0.00068726
4 | 1 | 2 | 230 | --- | 0 | 4 | 1 | 1 | 99999 | 100 | 1 | --- | -226.2735 | 22.7382 | 226.605 | -22.5496 | 0.48529 | 0.18858 | 0.00083694
4 | 1 | 3 | 230 | --- | 1 | 2 | 1 | 1 | 99999 | 100 | 1 | --- | -51.9932 | -93.9726 | 52.1187 | 93.3946 | 0.18362 | -0.57804 | 0.000399
4 | 1 | 4 | 230 | --- | 2 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | -28.6287 | 2.6501 | 28.6533 | -3.0781 | 0.036027 | -0.42793 | 0.00010591
4 | 1 | 5 | 230 | --- | 3 | 4 | 1 | 1 | 0.60245 | 100 | 1 | --- | -238.1887 | 32.1494 | 239.905 | -15.66 | 2.5129 | 16.4894 | 146.6635
5 | 1 | 0 | 110 | --- | 0 | 1 | 1 | 1 | 1.0041 | 100 | 1 | --- | 249.7734 | 21.5991 | -248.0068 | -4.6374 | 2.8451 | 16.9617 | 100.9559
5 | 1 | 1 | 230 | --- | 0 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | 186.5001 | -13.6121 | -185.4374 | 23.5816 | 1.7116 | 9.9695 | 0.00075598
5 | 1 | 2 | 230 | --- | 0 | 4 | 1 | 1 | 99999 | 100 | 1 | --- | -226.2735 | 22.7382 | 226.605 | -22.5496 | 0.53382 | 0.18858 | 0.00092064
5 | 1 | 3 | 230 | --- | 1 | 2 | 1 | 1 | 99999 | 100 | 1 | --- | -51.9932 | -93.9726 | 52.1187 | 93.3946 | 0.20199 | -0.57804 | 0.0004389
5 | 1 | 4 | 230 | --- | 2 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | -28.6287 | 2.6501 | 28.6533 | -3.0781 | 0.03963 | -0.42793 | 0.00011651
5 | 1 | 5 | 230 | --- | 3 | 4 | 1 | 1 | 0.60245 | 100 | 1 | --- | -238.1887 | 32.1494 | 239.905 | -15.66 | 2.7642 | 16.4894 | 161.3299
6 | 1 | 0 | 110 | --- | 0 | 1 | 1 | 1 | 1.0041 | 100 | 1 | --- | 249.7734 | 21.5991 | -248.0068 | -4.6374 | 3.1297 | 16.9617 | 111.0515
6 | 1 | 1 | 230 | --- | 0 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | 186.5001 | -13.6121 | -185.4374 | 23.5816 | 1.8827 | 9.9695 | 0.00083158
6 | 1 | 2 | 230 | --- | 0 | 4 | 1 | 1 | 99999 | 100 | 1 | --- | -226.2735 | 22.7382 | 226.605 | -22.5496 | 0.5872 | 0.18858 | 0.0010127
6 | 1 | 3 | 230 | --- | 1 | 2 | 1 | 1 | 99999 | 100 | 1 | --- | -51.9932 | -93.9726 | 52.1187 | 93.3946 | 0.22218 | -0.57804 | 0.00048279
6 | 1 | 4 | 230 | --- | 2 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | -28.6287 | 2.6501 | 28.6533 | -3.0781 | 0.043593 | -0.42793 | 0.00012816
6 | 1 | 5 | 230 | --- | 3 | 4 | 1 | 1 | 0.60245 | 100 | 1 | --- | -238.1887 | 32.1494 | 239.905 | -15.66 | 3.0406 | 16.4894 | 177.4629
7 | 1 | 0 | 110 | --- | 0 | 1 | 1 | 1 | 1.0041 | 100 | 1 | --- | 249.7734 | 21.5991 | -248.0068 | -4.6374 | 3.4426 | 16.9617 | 122.1567
7 | 1 | 1 | 230 | --- | 0 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | 186.5001 | -13.6121 | -185.4374 | 23.5816 | 2.071 | 9.9695 | 0.00091474
7 | 1 | 2 | 230 | --- | 0 | 4 | 1 | 1 | 99999 | 100 | 1 | --- | -226.2735 | 22.7382 | 226.605 | -22.5496 | 0.64592 | 0.18858 | 0.001114
7 | 1 | 3 | 230 | --- | 1 | 2 | 1 | 1 | 99999 | 100 | 1 | --- | -51.9932 | -93.9726 | 52.1187 | 93.3946 | 0.2444 | -0.57804 | 0.00053106
7 | 1 | 4 | 230 | --- | 2 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | -28.6287 | 2.6501 | 28.6533 | -3.0781 | 0.047952 | -0.42793 | 0.00014097
7 | 1 | 5 | 230 | --- | 3 | 4 | 1 | 1 | 0.60245 | 100 | 1 | --- | -238.1887 | 32.1494 | 239.905 | -15.66 | 3.3447 | 16.4894 | 195.2092
8 | 1 | 0 | 110 | --- | 0 | 1 | 1 | 1 | 1.0041 | 100 | 1 | --- | -447.7487 | 61.6486 | 451.1568 | -28.2419 | 3.7869 | 33.4067 | 134.3724
8 | 1 | 1 | 230 | --- | 0 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | -657.3087 | 91.1479 | 662.4086 | -40.8238 | 2.2781 | 50.324 | 0.0010062
8 | 1 | 2 | 230 | --- | 0 | 4 | 1 | 1 | 99999 | 100 | 1 | --- | -866.8688 | 120.6471 | 873.6603 | -53.4058 | 0.71051 | 67.2414 | 0.0012254
8 | 1 | 3 | 230 | --- | 1 | 2 | 1 | 1 | 99999 | 100 | 1 | --- | -1076.4288 | 150.1464 | 1084.9121 | -65.9877 | 0.26884 | 84.1587 | 0.00058417
8 | 1 | 4 | 230 | --- | 2 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | -1285.9888 | 179.6456 | 1296.1638 | -78.5696 | 0.052748 | 101.076 | 0.00015507
8 | 1 | 5 | 230 | --- | 3 | 4 | 1 | 1 | 0.60245 | 100 | 1 | --- | -1495.5489 | 209.1449 | 1507.4156 | -91.1515 | 3.6791 | 117.9934 | 214.7301
9 | 1 | 0 | 110 | --- | 0 | 1 | 1 | 1 | 1.0041 | 100 | 1 | --- | -1705.1089 | 238.6442 | 1718.6674 | -103.7335 | 4.1656 | 134.9107 | 147.8096
9 | 1 | 1 | 230 | --- | 0 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | -1914.6689 | 268.1434 | 1929.9191 | -116.3154 | 2.5059 | 151.828 | 0.0011068
9 | 1 | 2 | 230 | --- | 0 | 4 | 1 | 1 | 99999 | 100 | 1 | --- | -2124.229 | 297.6427 | 2141.1709 | -128.8973 | 0.78156 | 168.7453 | 0.0013479
9 | 1 | 3 | 230 | --- | 1 | 2 | 1 | 1 | 99999 | 100 | 1 | --- | -2333.789 | 327.1419 | 2352.4227 | -141.4793 | 0.29573 | 185.6627 | 0.00064259
9 | 1 | 4 | 230 | --- | 2 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | -2543.349 | 356.6412 | 2563.6744 | -154.0612 | 0.058022 | 202.58 | 0.00017058
9 | 1 | 5 | 230 | --- | 3 | 4 | 1 | 1 | 0.60245 | 100 | 1 | --- | -2752.9091 | 386.1404 | 2774.9262 | -166.6431 | 4.047 | 219.4973 | 236.2031
10 | 1 | 0 | 110 | --- | 0 | 1 | 1 | 1 | 1.0041 | 100 | 1 | --- | -2962.4691 | 415.6397 | 2986.178 | -179.225 | 4.5821 | 236.4146 | 162.5905
10 | 1 | 1 | 230 | --- | 0 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | -3172.0291 | 445.1389 | 3197.4297 | -191.807 | 2.7565 | 253.332 | 0.0012175
10 | 1 | 2 | 230 | --- | 0 | 4 | 1 | 1 | 99999 | 100 | 1 | --- | -3381.5891 | 474.6382 | 3408.6815 | -204.3889 | 0.85972 | 270.2493 | 0.0014827
10 | 1 | 3 | 230 | --- | 1 | 2 | 1 | 1 | 99999 | 100 | 1 | --- | -3591.1492 | 504.1374 | 3619.9332 | -216.9708 | 0.3253 | 287.1666 | 0.00070685
10 | 1 | 4 | 230 | --- | 2 | 3 | 1 | 1 | 99999 | 100 | 1 | --- | -3800.7092 | 533.6367 | 3831.185 | -229.5527 | 0.063825 | 304.0839 | 0.00018763
10 | 1 | 5 | 230 | --- | 3 | 4 | 1 | 1 | 0.60245 | 100 | 1 | --- | -4010.2692 | 563.1359 | 4042.4368 | -242.1347 | 4.4517 | 321.0013 | 259.8234

## Trafos
Transformers
Time Step | Zone | Trafo Index | Name | Std Type | HV Bus | LV Bus | High Voltage Side [kV] | Low Voltage Side [kV] | FE Losses [kW] | Shift Degree | Tap Position | Number of Trafos in Parallel | In Service | HV Act. Power [MW] | HV React. Power [MVAr] | LV Act. Power [MW] | LV React. Power [MVAr] | Losses [MW] | Losses [MVAr] | Loading Percent [%]